| Calibration order form (Please complete one form for each device) |  |  |  |
| --- | --- | --- | --- |
| Company |  |  |  |
| Name |  |  |  |
| Telefone |  |  |  |
| E-Mail |  | Date |  |

| Calibration object |  |
| --- | --- |
| Type | Serial Number |

| Factory calibration ISO 9001 compliant calibration certificate within range 100 to 10000 μW/cm² and 5 lx to 2000 lx The relative expanded measurement uncertainty is up to 9% for irradiance and up to 5% for illuminance. |  |  |
| --- | --- | --- |
|  | Calibration of UV irradiance meter at 365 nm Measuring values: 300, 1000, 2000, 4000, 8000 µW/cm² |  |
|  | Calibration of illuminance meter Measuring values: 20, 200, 2000 lux |  |
| Additional or deviating measuring values: |  |  |
| UV-A |  |  |
| LUX |  |  |
| Adjustment |  |  |  |
| If you agree to an adjustment if needed, please mark below. Adjustments will only be made if the measurement deviation exceeds 5%. For quality assurance reasons, we do not adjust without customer approval, even if the measurement deviation exceeds 5%. |  |  |  |
|  | No adjustment required |  |
|  | Adjustment required |  |
|  | Adjustment without recording the input values. |
|  | Adjustment with recording the input values. (Additional costs) |

Or (next page):

| DAkkS Calibration ISO/IEC 17025 compliant calibration certificate within the accredited range 100 bis 10000 μW/cm² and 5 lx bis 2000 lx The relative expanded measurement uncertainty is up to 7.5% for irradiance and up to 3.3% for illuminance. |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Calibration of UV irradiance meter at 365 nm Measuring values: 300, 1000, 2000, 4000, 8000 µW/cm² |  |  |  |  |  |
|  |  | Calibration of illuminance meter Measuring values: 20, 200, 2000 lux |  |  |  |  |  |
| Additional or deviating measuring values: |  |  |  |  |  |  |  |
| UV-A |  |  |  |  |  |  |  |
| LUX |  |  |  |  |  |  |  |
| Statement of Conformity for DAkkS Calibration (in accordance with ILAC-G8) Default, no Statement of Conformity is issued. |  |  |  |  |  |  |  |
| UV irradiance meter |  |  |  |  |  |  |  |
|  | No Statement of Conformity required |  |  |  |  |  |  |
|  | Statement of Conformity required |  |  |  |  |  |  |
|  |  | Confidence level 50% with 5% tolerance limit (recommended for aviation) |  |  |  |  |
|  |  | Confidence level 95% with 10% tolerance limit (recommended for industry) |  |  |  |  |
| Individual specification Confidence level: |  |  |  | Individual specification tolerance limit %: |  |
| Illuminance meter |  |  |  |  |  |  |  |
|  | No Statement of Conformity required |  |  |  |  |  |  |
|  | Statement of Conformity required |  |  |  |  |  |  |
|  |  | Confidence level 95% with 5% tolerance limit |  |  |  |  |
| Individual specification Confidence level: |  |  |  | Individual specification tolerance limit %: |  |

| Adjustment |  |  |  |
| --- | --- | --- | --- |
| If you agree to an adjustment if needed, please mark below. Adjustments will only be made if the measurement deviation exceeds 5%. For quality assurance reasons, we do not adjust without customer approval, even if the measurement deviation exceeds 5%. |  |  |  |
|  | No adjustment required |  |  |
|  | Adjustment required |  |  |
|  | Adjustment without recording the input values. |
|  | Adjustment with recording the input values. (Additional costs) |